## Sheet1
YOUR COMPANY NAME
Your Company Address
Your company web site URL
Your company email address
Your company Tel/Fax number
TEST APPARATUS CALIBRATION VERIFICATION DATA
FOR WATERJACKET VOLUMETRIC EXPANSION TESTING
DATE: ___/____/_______ |  |  | TIME:____:____ |  | ____AM ____PM |  | SERIAL NO. OF CALIBRATION CYLINDER:_____________________
RETEST OPERATOR:____________________________
Expansion Reading @ | Expected Pressure | Actual Pressure | Permanent |  |  |  | Pressure Reading @ | Expected Expansion | Actual Expansion | Permanent
Corresponding PSI | Reading (PSI) (A) | Reading @ Corres- | Expansion (cc) | % Deviation |  |  | Corresponding | Reading (cc) (A) | Reading @ Corres- | Expansion (cc) | % Deviation
|  | ponding Expansion (B) |  |  |  |  | Expansion (A) |  | ponding Pressure (B)
FROM CYLINDER |  | Reading | Reading on EID after | A + B x 100 =% |  |  | FROM CYLINDER |  | Reading | Reading on EID after | A + B x 100 =%
CALIBRATION CERTIFICATE |  | from (PID) | pressure is released | A |  |  | CALIBRATION CERTIFICATE |  | from EID | pressure is released | A
Example | [6 empty] | Example
20,5 | 3000 | 2995 | 0 | * 0.17% |  |  | 3000 | 20.5 | 20.4 | 0 | * 0.49%
* [ 3000 - 2995.00 = 5.00 / 3000.00 = 0.0017 x 100 = 0.17% | [6 empty] | * [ 20.5 - 20.4 = 0.1 / 20.5 = 0.0049 x 100 = 0.49% ]
Calibration verification using Expansion Indication Device (EID) against Pressure Indicating Device (PID).
___**PREFERRED METHOD**
Calibration verification using Pressure Indication Device (PID) against Expansion Indicating Device
(EID).
___**PREFERRED METHOD**
In calculation of % permanent expansion use:
A - B where A is > B
B - A where B is > A